## SOUTHWEST REGION
FACILITY | LOCATION | STATUS | COMMENTS
WILCOX SP | K1, K2, K3, K4, L1, L2, L3, and L4 | All areas cooling /see coments | K2- Air Conditioned - one operational, one not operational
K4 - Air conditioned - one not operational, one operational
L1 - Air conditioned - one operational, one not operational
L3 - Air conditioned - One operational, one not operational
RUTLDGE SP | C, D, E, F, J, K All 4 DORMS EACH, G Bldg lockdown | All areas cooling /see coments | K 1 -4 A/C’s- 1 unit needs repairs - Facility Maintenance
K 1 -4 A/C’s- 1 unit needs repairs - Facility Maintenance
VALDOSTA SP | No AC in any dorms at this time ( Never Has been ) | Install in Progresss | J2, H bldg, G,bldg, F-1 install in progress . Fred Hasting Project
VALDOSTA ANNEX | West Bldg Pod , 1,2,3,4 North Bldg Pod , 1,2,3,4 | All units Operational
AUTRY SP | K1,K2,L1,L2 and M Building(Hospice Medical Housing) | All areas cooling / see coments | K 1 -5 A/C’s- 1 unit needs repairs - Facility Maintenance
M-bld. A/C unit - currently being replaced by Vendor starting 8/2/22.
CALHOUN SP | L1,L2,L3, and L4 | All units Operational
DODGE SP | F-(old infirmary), Q1, Q2, Q3, AND Q4 | All areas cooling /see coments | Q1 - Air Conditioned - one operational, One not operationale. Q4- Air Conditioned - One operational, one not operational
DOOLY SP | K1, K2, K3, and K4 | All units Operational
LEE SP | A, B, C, D, E, F, and G | All units Operational
MACON SP | M-bldg, dorms 1,2,3,4 | All units Operational
PULASKI SP | E1, E3, E4, E5, E6, E7, E8, E9, and F1 | All units Operational

## NORTH REGION
FACILITY | LOCATION | STATUS | Comments
ARRENDALE SP | 4th floor in main building , A -bldg, Medical | All units Operational
ASMP | 1A, 1B, 2A, 2B, 3A, 3B, 4A, 14 AND 23 | All units Operational
BALDWIN SP | All Dorms have A/C | All units Operational
BURRUSS SP | All Dorms have A/C | All units Operational, Except J 3/4 and L1/2 | 2 Airhandlers down
CENTRAL SP | All Dorms have A/C | All units Operational
GDCP | Buildings J, K, and MAU | All units Operational
GDCP HI MAX | All Dorms have A/C | All units Operational
HANCOCK SP | Annex only has dorms with A/C | All units Operational
HAYS SP | Only Y building has A/C | All units Operational
HELMS | All Dorms have A/C | All units Operational
METRO RE | All Dorms have A/C | All units Operational
PHILLIPS SP | Medical has A/C | All units Operational
WALKER SP | All Dorms have A/C | All units Operational
WHITWORTH SP | All Dorms have A/C | All un its Operational
WASHINGTON SP | No Dorms have A/C except Parole center and Annex | All units Operational

## SOUTHEAST REGION
FACILITY | LOCATION | STATUS | COMMENTS
MONTGOMERY SP | Entire facility | Being Replaced | Rental in place and cooling
LONG UNIT | Entire facility | All units Operational
EMANUEL WOMENS FACILITY | Entire facility | All units Operational
COASTAL SP | All Dorms | All units Operational
GEORGIA SP | F3 dorm only | All units Operational
JOHNSON SP | D, L, AND K Bldg. (4-Dorms Each) | All units Operational
ROGERS SP | G and H Bldg.(4 dorms each) | All units Operational
SMITH SP | L bldg. (4 dorms) | All units Operational
TELFAIR SP | H bldg. (4 dorms) G5 Dorm | All units Operational
WARE SP | M,I bldg. (4 Dorm each) | All units Operational